## Cast 1 Sta 37
* | Sea-Bird SBE50 D | ata File:
* | FileName = C:\Us | ers\jmoffett\Documents\Kilo | 2019\Oceanus 2021\Summer Cruise\Cast 1 Sta 37.afm
* | Software Version | SeatermAF 2.1.4.55
* | Temperature SN =
* | Conductivity SN | =
* | System UpLoad Ti | me = Aug 09 2021 08:44:09 ( | localtime) = Aug 09 2021 15:44:09 (UTC)
* | ds
* | 90208 AFM V 2.0d | SERIAL NO. 87 09 Aug 202 | 1 08:40:15
* | main battery = 1 | 1.42 volts
* | lithium battery | = 3.18 volts
* | AFM is NOT ARMED
* | A>
*E | ND*
1 | 1 08 Aug 2021 | 19:39:10 confirmed 11.2 | 1171
| 117000496 |  |  | 117 | 279 | 179
116000497
116000498
116000499
011600049A
2 | 2 08 Aug 2021 | 19:41:47 confirmed 11.1 | 1327
| 104000533 |  |  | 104 | 260 | 160
104000534
104000535
104000536
103000537
3 | 3 08 Aug 2021 | 19:43:03 confirmed 11.1 | 1402
| 00F000057F |  |  | 0F0 | 240 | 140
00F0000580
00F0000581
00F0000582
00F0000583
4 | 4 08 Aug 2021 | 19:44:19 confirmed 11.1 | 1477
| 00DB0005CB |  |  | 0DB | 219 | 119
00DC0005CC
00DC0005CD
00DC0005CE
00DB0005CF
5 | 5 08 Aug 2021 | 19:45:35 confirmed 11.1 | 1552
| 00C7000617 |  |  | 0C7 | 199 | 99
00C7000618
00C7000619
00C700061A
00C700061B
6 | 7 08 Aug 2021 | 19:46:48 confirmed 11.0 | 1624
| 00B4000660 |  |  | 0B4 | 180 | 80
00B5000661
00B5000662
00B4000663
00B4000664
7 | 8 08 Aug 2021 | 19:49:17 confirmed 11.0 | 1772
| 008C0006F5 |  |  | 08C | 140 | 40
008C0006F6
008C0006F7
008B0006F8
008B0006F9
8 | 9 08 Aug 2021 | 19:51:20 confirmed 11.0 | 1894
| 78000770 |  |  | 78 | 120 | 20
78000771
78000772
78000773
77000774
A>